## Index
Class List
TNTBLEManager
TNTBLEManagerDelegate
TNTBLEPeripheral
TNTBLEPeripheralDelegate
TNTDeviceInformation
TNTUserInformation
TNTMeasurementInformation
TNTBLEError

## TNTBLEManager
TNTBLEManager Class Reference
Inherits from NSObject
@interface TNTBLEManager : NSObject
This class manages connecting with peripherals.
Data Type
TNTBLEManagerState
TNTDeviceType
Properties
weak,nonatomic |  |  |  | id<TNTBLEManagerDelegate> | delegate
readonly |  |  |  | TNTBLEManagerState | state
nonatomic |  |  |  | BOOL | insightLog
readonly |  |  |  | BOOL | busy
Instance Methods
-(void) |  |  | initWithDelegate:(TNTBLEManagerDelegate *) delegate;
-(void) |  |  | startPairingConnectionWithDeviceType:(TNTDeviceType)deviceType:
-(void) |  |  | connectWithIdentifier:(NSString *) identifier applicationUUID:(NSString *) applicationUUID deviceType:(TNTDeviceType) deviceType withScan:(BOOL) scan;
-(void) |  |  | cancelConnection;
-(NSString*) |  |  | createApplicationUUID:
Data Type
TNTBLEManagerState
typedef NS_ENUM(NSInteger, TNTBLEManagerState) {
TNTBLEManagerStateUnknown = 0,
TNTBLEManagerStateResetting,
TNTBLEManagerStateUnsupported,
TNTBLEManagerStateUnauthorized,
TNTBLEManagerStatePoweredOff,
TNTBLEManagerStatePoweredOn
};
TNTBLEManagerStateUnknown = 0,
Initial Value
TNTBLEManagerStateResetting,
The connection with the system service was momentarily lost.
TNTBLEManagerStateUnsupported,
The platform does not support Bluetooth low energy.
TNTBLEManagerStateUnauthorized,
Using Bluetooth low energy is unauthorized.
TNTBLEManagerStatePoweredOff,
Bluetooth is currently powered off.
TNTBLEManagerStatePoweredOn
Bluetooth is currently powered on and useable.
この状態の場合のみ，API呼び出しが有効
TNTDeviceType
typedef NS_ENUM(NSInteger, TNTDeviceType) {
TNTDeviceTypeBodyCompositionMonitor = 0,
TNTDeviceTypeActivityMonitor,
TNTDeviceTypeSleepMonitor,
TNTDeviceTypeBloodPressureMonitor,
TNTDeviceTypeGlucoseMeter,
};
TNTDeviceTypeBodyCompositionMonitor = 0,
Body Composition Monitor
TNTDeviceTypeActivityMonitor,
Activity Monitor
TNTDeviceTypeSleepMonitor,
Sleep Monitor
TNTDeviceTypeBloodPressureMonitor,
Blood Pressure Monitor
TNTDeviceTypeGlucoseMeter,
Yurine Glucose Meter
Properties
delegate
The delegate object you want to receive TNTBLEManager events.
@property（weak, nonatomic）id<TNTBLEManagerDelegate> delegate;
state
Returns the current state of the TNTBLEManager. (read-only)
@property（readonly）TNTBLEManagerState state;
insightLog
Whether to send user insight information.
*notice:do not change this property from default(ON)
@property（nonatomic）BOOL insightLog;
busy
Information that whether the TNTBLEManager can receive request to connect from API.
If YES, connect request is rejected and call the delegate (manager:didFailToConnectTNTBLEPeripheral:error:)
If NO, connect request is accepted.
@property（readonly）BOOL busy;
Instance Methods
initWithDelegate:
Initializes the TNTBLEManager with a specified delegate
-(void)initWithDelegate:(TNTBLEManagerDelegate *)delegate:
Parameters
delegate
The delegate to receive the TNTBLEManager events.
startPairingConnectionWithDeviceType:
Start Pairing with peripheral.
-(void)startPairingConnectionWithDeviceType:(TNTDeviceType)deviceType;
Parameters
deviceType
The device type of peripheral which you will connect.
connectWithIdentifier:applicationUUID:deviceType:withScan:
Establish a local connection to a peripheral.
If you set the scan parameter "NO", the connecting time is shorter.
*notice: it sometimes takes a few seconds to call didConnectTNTBLEPeripheral method.
(up to about 8 seconds(iOS5); 3 seconds(iOS6, iOS7))
-(void)connectWithIdentifier:(NSString *)identifier applicationUUID:(NSString *) applicationUUID deviceType:(TNTDeviceType) deviceType withScan:(BOOL) scan;
Parameters
identifier
The identifier of the peripheral to which you are attempting to connect.
applicationUUID
The UUID of the application. It is generated in createApplicationUUID method.
deviceType
The type of the peripheral to which you are attempting to connect..
cf.TNTDeviceType variable in this class.
scan
If the parameter is "YES", app scans for peripherals that are advertising services.
If "NO", connects to the peripheral immediately
cancelConnection
Disconnect from peripheral.
-(void)cancelConnection;
createApplicationUUID
Create applicationUUID.
This UUID is used by saveUUID:(NSString *) UUID method .
-(NSString *)createApplicationUUID;

## TNTBLEManagerDelegate
TNTBLEManagerDelegate Protocol Reference
Inherits from NSObject
@protocol TNTBLEManagerDelegate <NSObject>
Instance Methods
@required
-(void) |  | didUpdateTNTBLEManagerState:(TNTBLEManagerState) state;
@optional
-(void) |  | manager:(TNTBLEManager *) manager didConnectTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral deviceInformation:(TNTDeviceInformation *) deviceInformation;
-(void) |  | manager:(TNTBLEManager *) manager didDisconnectTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
-(void) |  | manager:(TNTBLEManager *) manager didFailToConnectTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
-(void) |  | manager:(TNTBLEManager *) manager didIgnoreConnectionTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Instance Methods
@required
didUpdateTNTBLEManagerState:
Invoked when TNTBLEManager is generated or TNTBLEManager's state is updated.
-(void)didUpdateTNTBLEManagerState:(TNTBLEManagerState) state;
Parameters
state
Current state of TNTBLEManager
@optional
manager:didConnectTNTBLEPeripheral:deviceInformation:
Invoked when a connection is established successfully with peripheral.
*notice: | It could take a few seconds that this method is invoked since your app has called the connectWithIdentifier method.
-(void)manager:(TNTBLEManager *) manager didConnectTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral deviceInformation:(TNTDeviceInformation *) deviceInformation;
Parameters
manager
The TNTBLEManager providing this information which connection is established.
peripheral
The peripheral that has connected.
devieInformation
The informations of peripheral that has connected.
@optional
manager:didDisconnectTNTBLEPeripheral:error:
Invoked when an existing connection with peripheral is torn down.
-(void)manager:(TNTBLEManager *) manager didDisconnectTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Parameters
manager
The TNTBLEManager providing this information which connection is lost.
peripheral
The peripheral that has been disconnected from app.
error
The cause of the failure.
@optional
manager:didFailToConnectTNTBLEPeripheral:error:
Invoked when the TNTBLEManager fails to create a connection with peripheral.
*notice: | This method isn't called generally.
Because the startPairingConnection/connectWithIdentifier:applicationUUID: doesn't time out.
So this method is called when unexpected problems occurred.
-(void)manager:(TNTBLEManager *) manager didFailToConnectTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Parameters
manager
The TNTBLEManager providing this information which connecting to peripheral failed.
peripheral
The peripheral that failed to connect.
error
The cause of the failure.
@optional
manager:didIgnoreConnectionTNTBLEPeripheral:error:
invoked when the request to peripheral ignored.
The case is requesting to connect until still connecting to peripheral.
For exsample,continuous hits of the button.
-(void)manager:(TNTBLEManager *) manager didIgnoreConnectionTNTBLEPeripheral:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Parameters
manager
The TNTBLEManager providing this information which the request connecting to peripheral ignored.
peripheral
The pheripheral that ignored to connecting request.
error
The error when the request connecting to peripheral ignored.（if no error occurred, return nil).

## TNTBLEPeripheral
TNTBLEPeripheral Class Reference
Inherits from NSObject
@interface TNTBLEPeripheral : NSObject
This class handles communication with TANITA devices
Data Type
TNTBLEPeripheralState
Properties
weak,nonatomic |  |  | id<TNTBLEPeripheralDelegate> | delegate
readonly,nonatomic |  |  | NSString * | identifier
readonly |  |  | TNTBLEPeripheralState | state
readonly,nonatomic |  |  | NSString * | name
readonly |  |  | NSNumber * | RSSI
readonly |  |  | BOOL | busy
Instance Methods
-(void) |  | requestDisconnect;
-(void) |  | saveUUID:(NSString *) UUID;
-(void) |  | retrieveUserInformationWithNumber:(UInt8) number;
-(void) |  | saveUserInformation:(TNTUserInformation *) userInformation number:(UInt8) number;
-(void) |  | startMeasurement;
-(void) |  | retrieveMeasurementCount;
-(void) |  | retrieveMeasurementInformationWithNumber:(UInt8)number;
-(void) |  | readRSSI;
Data Type
TNTBLEPeripheralState
typedef NS_ENUM(NSInteger, TNTBLEPeripheralState) {
TNTBLEPeripheralStateDisconnected = 0,
TNTBLEPeripheralStateConnecting = 1,
TNTBLEPeripheralStateConnected = 2
};
TNTBLEPeripheralStateDisconnected = 0,
Disconnected
TNTBLEPeripheralStateConnecting = 1,
Connecting
TNTBLEPeripheralStateConnected = 2
Connected
Properties
delegate
The delegate object specified to receive TNTBLEPeripheral events.
@property（weak, nonatomic）id<TNTBLEPeripheralDelegate> delegate;
identifier
The identifier associated with the peripheral. (read-only)
@property（readonly, nonatomic）NSString* identifier;
state
The current connection state of the TNTBLEPeripheral. (read-only)
@property（readonly）TNTBLEPeripheralState state;
name
The name of the device. (read-only)
@property（readonly, nonatomic）NSString* name;
RSSI
The RSSI, in decibels, of the device. (read-only)
@property（strong,readonly）NSNumber* RSSI;
busy
Information that whether the peripheral can receive request.
If YES, request is rejected and call the delegate (peripheralDidFailToRequest:error:)
If NO, request is accepted.
@property（readonly）BOOL busy;
Instance Methods
requestDisconnect
Requests device to disconnect.
-(void)requestDisconnect;
saveUUID:
Saves applicationUUID to peripheral.
-(void)saveUUID:(NSString *)UUID;
Parameters
UUID
The UUID which is generated by "createUUID" method.
retrieveUserInformationWithNumber:
Retrives user information that is resitered with peripheral.
-(void)retrieveUserInformationWithNumber:(UInt8)number;
Parameters
number
The personal number that registered with peripheral.(zero-based value)
saveUserInformation:number:
Save user information to peripheral.
*notice:peripheral replace own user information with newer one which compares registration date
between app just saved and peripheral already retained.
-(void)saveUserInformation:(TNTUserInformation *) userInformation number:(UInt8) number;
Parameters
userInformation
The user information that save to peripheral
number
The personal number which is registered with peripheral.(zero-based value)
startMeasurement
Send start measurement request to peripheral
-(void)startMeasurement;
retrieveMeasurementCount
Retrives the number of measurement informations saved peripheral
-(void)retrieveMeasurementCount;
retrieveMeasurementInformationWithNumber:
Retrives measurement information of specified number.
-(void)retrieveMeasurementInformationWithNumber:(UInt8)number;
Parameters
number
The number of measurement information.
readRSSI
Retrieves the current RSSI value for the peripheral while it is connected to the TNTBLEManager.
-(void)readRSSI;

## TNTBLEPeripheralDelegate
TNTBLEPeripheralDelegate Protocol Reference
Inherits from NSObject
@protocol TNTBLEPeripheralDelegate <NSObject>
Data Type
TNTDeviceStatus
Instance Methods
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didRequestDisconnectWithDeviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didSaveUUIDWithResult:(UInt8) result deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didRetrieveUserInformation:(TNTUserInformation *) userInformation deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didSaveUserInformation:(TNTUserInformation *) userInformation deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didFinishMeasurementWithDeviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didRetrieveMeasurementCount:(Uint8) count deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheral:(TNTBLEPeripheral *) peripheral didRetrieveMeasurementInformationWithNumber:(UInt8) number measurementInformation:(MeasurementInformation) measurementInformation deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
-(void) |  | peripheralDidUpdateRSSI:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
-(void) |  | peripheralDidFailToRequest:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Data Type
TNTDeviceStatus
Represent status of peripheral
typedef NS_ENUM(UInt8, TNTDeviceStatus) {
TNTDeviceStatusNormal = 0,
TNTDeviceStatusMeasurementError = 1,
TNTDeviceStatusDeviceError = 2,
TNTDeviceStatusAgeError = 3,
TNTDeviceStatusNoPersonalInformationError = 4,
TNTDeviceStatusReceiveDataError = 5,
TNTDeviceStatusReceiveDataOverflowError = 6,
TNTDeviceStatusSequenceError = 7,
TNTDeviceStatusDeviceTypeError = 8,
};
TNTDeviceStatusNormal = 0,
Normal
TNTDeviceStatusMeasurementError = 1,
Measurement has not completed
TNTDeviceStatusDeviceError = 2,
peripheral has hardware error
TNTDeviceStatusAgeError = 3,
Incorrect age
TNTDeviceStatusNoPersonalInformationError = 4,
There is no personal information both app and peripheral.
TNTDeviceStatusReceiveDataError = 5,
Receive data error
TNTDeviceStatusReceiveDataOverflowError = 6,
Receive data over flows
TNTDeviceStatusSequenceError = 7,
Incorrect communication sequence
TNTDeviceStatusDeviceTypeError = 8,
Incorrect device type
Instance Methods
peripheral:didRequestDisconnectWithDeviceStatus:error:
Invoked when the app requests disconnection to peripheral.
-(void)peripheral:(TNTBLEPeripheral *) peripheral didRequestDisconnectWithDeviceStatus: (TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral that has been disconnected.
deviceStatus
The status of disconnected peripheral.
error
The cause of the failure.
peripheral:didSaveUUIDWithResult:deviceStatus:error:
Invoked when the UUID has been saved to peripheral.
-(void)peripheral:(TNTBLEPeripheral *) peripheral didSaveUUIDWithResult:(UInt8) result deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral that has been saved UUID.
result
The result that app saves applicationUUID to peripheral.
deviceStatus
The status of peripheral
error
The cause of the failure.
peripheral:didRetrieveUserInformation:deviceStatus:error:
Invoked when the user information is retrieved from peripheral
-(void)peripheral:(TNTBLEPeripheral *) peripheral didRetrieveUserInformation:(TNTUserInformation *)userInformation deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral that have this user information.
userInformation
The user information that have retrieved.
deviceStatus
The status of peripheral.
error
The cause of the failure.
peripheral:didSaveUserInformation:deviceStatus:error:
Invoked when the user information is saved to peripheral
-(void)peripheral:(TNTBLEPeripheral *) peripheral didSaveUserInformation:(TNTUserInformation *) userInformation deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral that have been saved user information.
userInformation
The user information that have been saved to peripheral.
*notice : peripheral returns newer one which compares registration date
between app just saved and peripheral already retained.
deviceStatus
The status of peripheral.
error
The cause of the failure.
peripheral:didFinishMeasurementWithDeviceStatus:error:
Invoked when measurement have finished
-(void)peripheral:(TNTBLEPeripheral *) peripheral didFinishMeasurementWithDeviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral that finished measurement.
deviceStatus
The status of peripheral.
error
The cause of the failure.
peripheral:didRetrieveMeasurementCount:deviceStatus:error:
Invoked when TNTBLEPeripheral retrieves measurement count.
-(void)peripheral:(TNTBLEPeripheral *) peripheral didRetrieveMeasurementCount:(Uint8) count deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral providing measurement count.
count
The number of measurement count.
deviceStatus
The status of peripheral.
error
The cause of the failure.
peripheral:didRetrieveMeasurementInformationWithNumber: measurementInformation:deviceStatus:error:
Invoked when TNTBLEPeripheral retrieves measurement information.
-(void)peripheral:(TNTBLEPeripheral *) peripheral didRetrieveMeasurementInformationWithNumber:(UInt8) number measurementInformation:(MeasurementInformation) measurementInformation deviceStatus:(TNTDeviceStatus) deviceStatus error:(NSError *) error;
Parameters
peripheral
The peripheral providing measurement information.
number
The number of retrieved measurement information.
measurementInformation
The result of measurement
deviceStatus
The status of peripheral.
error
The cause of the failure.
peripheralDidUpdateRSSI:error:
Invoked when the RSSI of peripheral updates.
-(void)peripheralDidUpdateRSSI:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Parameters
peripheral
The peripheral which updates RSSI
error
The cause of the failure.
peripheralDidFailToRequest:error:
invoked when the request to peripheral ignored.
The case is requesting to connect until still connecting to peripheral.
For exsample,continuous hits of the button.
-(void)peripheralDidFailToRequest:(TNTBLEPeripheral *) peripheral error:(NSError *) error;
Parameters
peripheral
The peripheral which attempted to issue the request.
error
The cause of the failure.

## TNTDeviceInformation
TNTDeviceInformation Class Reference
Inherits from NSObject
@interface TNTDeviceInformation : NSObject
The property class that retains device information
Data Type
TNTCountry
TNTUnit
Properties
Commonly used for Body Composition Monitor and Activity Monitor
nonatomic,copy |  |  | NSString * | ISMNVendor
nonatomic,copy |  |  | NSString * | ISMNModel
nonatomic,copy |  |  | NSString * | MYHSerialNumber
nonatomic,copy |  |  | NSString * | BDAddress
nonatomic,copy |  |  | NSString * | softwareRevision
nonatomic,copy |  |  | NSString * | firmwareRevision
nonatomic,copy |  |  | NSString * | batteryLevel
nonatomic,readonly |  |  | NSString * | batteryLevelUnit
nonatomic |  |  | UInt8 | personMemory
nonatomic |  |  | TNTCountry | country
nonatomic |  |  | TNTUnit | unit
Only available for Body Composition Monitor
nonatomic,copy |  |  | NSString * | measurementTimeout
nonatomic,readonly |  |  | NSString * | measurementTimeoutUnit
Data Type
TNTCountry
typedef NS_ENUM(UInt8, TNTCountry) {
TNTCountryJapan = 1,
TNTCountryAsia = 2,
TNTCountryUSA = 3,
TNTCountryEU = 4,
};
TNTCountryJapan = 1,
Japan
TNTCountryAsia = 2,
Asia
TNTCountryUSA = 3,
USA
TNTCountryEU = 4,
Europe
TNTUnit
typedef NS_OPTIONS(UInt8, TNTUnit) {
TNTUnitNone = 0,
TNTUnitKilogram = 1 << 0,
TNTUnitPound = 1 << 1,
TNTUnitStPound = 1 << 2,
};
TNTUnitNone = 000(2),
None
TNTUnitKilogram = 001(2),
Kilogram
TNTUnitPound = 010(2),
Pound
TNTUnitStPound = 100(2),
Stone Pound
Properties
Following properties commonly used for Body Composition Monitor and Activity Monitor
ISMNVendor
The ISMN vender code
@property（nonatomic,copy）NSString* ISMNVendor;
ISMNModel
The ISMN model code
@property（nonatomic,copy）NSString* ISMNModel;
MYHSerialNumber
The MYH serial number. It is 8 digits hex value.
*notice:Body Composition Monitor doesn't use this property.
@property（nonatomic,copy）NSString* MYHSerialNumber;
BDAddress
The BD Address.It is 12 digits hex value.
@property（nonatomic,copy）NSString* BDAddress;
softwareRevision
The revision number of peripheral's firmware
@property（nonatomic,copy）NSString* softwareRevision;
firmwareRevision
The revision number of bluetooth module's firmware
@property（nonatomic,copy）NSString* firmwareRevision;
batteryLebel
The battery level. The range is from 0 to 100. It is hex value.
@property（nonatomic,copy）NSString* batteryLevel;
batteryLebelUnit
The unit of battery level.
@property（nonatomic,readonly）NSString* batteryLevelUnit;
personMemory
The number of person that can be registered with peripheral.
@property（nonatomic）UInt8 personMemory;
country
The country where TNTDevice is used.(0x01:Japan，0x02:Asia，0x03:USA，0x04:EU）
@property（nonatomic）TNTCountry country;
unit
The unit which peripheral can use.
（000(2):none，001(2):kg，010(2):lb，100:st-lb, 111:All）
| Ex. | 111(2) -> kg, lb, st-lb
001(2) -> kg
011(2) -> kg, lb
@property（nonatomic）TNTUnit unit;
Following properties are only available for Body Composition Monitor
measurementTimeout
The time of measurement timeout.
The range is from 0 to 65535.(0sec ～ 6553.5sec:increments 0.1sec)
@property（nonatomic,copy）NSString* measurementTimeout;
measurementTimeoutUnit
The unit of time for measurement timeout.
@property（nonatomic,readonly）NSString* measurementTimeoutUnit;

## TNTUserInformation
TNTUserInformation Class Reference
Inherits from NSObject
@interface TNTUserInformation : NSObject
The property class that retains user information
Data Type
TNTGender
TNTFigure
TNTArea
Properties
Commonly used for Body Composition Monitor and Activity Monitor
nonatomic,copy |  | NSDate * |  | date
nonatomic,copy |  | NSString * |  | nickname
nonatomic,copy |  | NSDate * |  | dateOfBirth
nonatomic |  | TNTGender |  | gender
nonatomic,copy |  | NSString* |  | height
nonatomic,readonly |  | NSString* |  | heightUnit
nonatomic |  | TNTUnit |  | unit
Only available for Body Composition Monitor
nonatomic |  | TNTFigure |  | figure
nonatomic |  | UInt8 |  | activityLevel
nonatomic,copy |  | NSString* |  | tare
nonatomic,readonly |  | NSString* |  | tareUnit
nonatomic |  | TNTArea |  | area
Data Type
TNTGender
typedef NS_ENUM(UInt8, TNTGender) {
TNTGenderMale = 0,
TNTGenderFemale = 1,
};
TNTGenderMale = 0,
Male
TNTGenderFemale = 1,
Female
TNTFigure
typedef NS_ENUM(UInt8, TNTFigure) {
TNTFigureNormal = 0,
TNTFigureAthlete = 1,
};
TNTFigureNormal = 0,
Nprmal means standard
TNTFigureAthlete = 1,
Athlete
TNTArea
typedef NS_ENUM(UInt8, TNTArea) {
// Oversea model uses following constants.
TNTAreaA0 = 0,
TNTAreaA1 = 1,
TNTAreaA2 = 2,
TNTAreaA3 = 3,
TNTAreaA4 = 4,
TNTAreaA5 = 5,
TNTAreaA6 = 6,
TNTAreaA7 = 7,
TNTAreaA8 = 8,
TNTAreaA9 = 9,
// Japanese model uses following constants.
TNTAreaHokkaido = 0,
TNTAreaTohoku = 1,
TNTAreaHonshuShikoku = 2,
TNTAreaKyushu = 3,
TNTAreaOkinawa = 4,
TNTAreaMachine = 254, //If you set this constants to area of user information, peripheral returns currently own area value.
};
Properties
Following properties commonly used for Body Composition Monitor and Activity Monitor
date
The date that have been set user information.
Range is from 1/1/2014 to 31/12/2050
*notice:In case of setting date as out of above range, the peripheral automatically set 1/1/2014.
@property（nonatomic,copy）NSDate* date;
nickname
The nick name. It restricts to five characters.
Following characters are usable:
Capital leters（'A'～'Z'），Small leters （'a'～'z'），Numbers（'0'～'9'），
Hyphen（'-'），Underscore（'_'），Blank（' '）
*notice:In case of setting characters except for above list, the peripheral automatically set NULL.
@property（nonatomic,copy）NSString* nickname;
dateOfBirth
The date of birth.
Range is from 1/1/1900 to 31/12/2050
*notice:In case of setting date as out of above range or future, the peripheral returns error.
@property（nonatomic,copy）NSDate* dateOfBirth;
gender
The gender.
0 : Male 1 : Female
@property（nonatomic）TNTGender gender;
height
The height.
Range is:
cm: 90.0 - 220.0 (increment:0.1)
ft-in: 36.0 - 87.0 (increment:0.1)
*notice:If you set value which exceed limit, peripheral automatically set limit value.
@property（nonatomic,copy）NSString* height;
heightUnit
The unit of height.
@property（nonatomic,readonly）NSString* heightUnit;
unit
The unit which is setting to peripheral. It is binary value.
| TNTUnitNone(=000(2)): |  | unit is none
| TNTUnitKilogram(=001(2)): |  | kg
| TNTUnitPound(=010(2)): |  | lb
| TNTUnitStPound(=100(2)): |  | st-lb
@property（nonatomic）TNTUnit unit;
Following properties are only available for Body Composition Monitor
figure
The figure. (0:Standard 1:Athlete)
@property（nonatomic）TNTFigure figure;
activityLevel
The activity level.
Range: 0 or 1 - 3 (0 means unused)
@property（nonatomic）UInt8 activityLevel;
tare
The tare weight.
Range is:
kg: 0.00 - 10.00 (increment:0.01kg)
lb or st-lb: 0.00 - 4.40 (increment: 0.01lb)
*notice:In case of setting value as out of above range, the peripheral automatically set 0.00kg
@property（nonatomic,copy）NSString* tare;
tareUnit
The unit of tare weight.
@property（nonatomic,readonly）NSString* tareUnit;
area
The area which peripheral is used at there.
@property（nonatomic）TNTArea area;

## TNTMeasurementInformation_Lv2
TNTMeasurementInformation Class Reference
Inherits from NSObject
@interface TNTMeasurementInformation : NSObject
The property class that retains measurement information
Properties
Commonly used for Body Composition Monitor and Activity Monitor
nonatomic,copy | NSDate * | date
Only available for Body Composition Monitor
nonatomic | TNTFigure | figure
nonatomic,copy | NSString* | height
nonatomic,readonly | NSString* | heightUnit
nonatomic | UInt8 | activityLevel
nonatomic,copy | NSString* | weight
nonatomic,readonly | NSString* | weightUnit
nonatomic,copy | NSString* | bodyMassIndex
nonatomic | UInt8 | bodyMassIndexJudgement
nonatomic,copy | NSString* | bodyFat
nonatomic,readonly | NSString* | bodyFatUnit
nonatomic | UInt8 | bodyFatJudgement
nonatomic,copy | NSString* | bodyWater
nonatomic,readonly | NSString* | bodyWaterUnit
nonatomic,copy | NSString* | muscleMass
nonatomic,readonly | NSString* | muscleMassUnit
nonatomic | SInt8 | muscleMassScore
nonatomic | UInt8 | muscleMassJudgement
nonatomic,copy | NSString* | boneMass
nonatomic,readonly | NSString* | boneMassUnit
nonatomic | UInt8 | boneMassJudgement
nonatomic,copy | NSString* | visceralFat
nonatomic,readonly | NSString* | visceralFatUnit
nonatomic | UInt8 | visceralFatJudgement
nonatomic,copy | NSString* | basalMetabolicRate
nonatomic,readonly | NSString* | basalMetabolicRateUnit
nonatomic | UInt8 | basalMetabolicRateJudgement
nonatomic | UInt8 | metabolicAge
nonatomic,copy | NSString* | temperature
nonatomic,readonly | NSString* | temperatureUnit
nonatomic,copy | NSString* | weightZero
nonatomic,readonly | NSString* | weightZeroUnit
nonatomic,copy | NSString* | impedanceFoot50kHzR
nonatomic,readonly | NSString* | impedanceFoot50kHzRUnit
nonatomic,copy | NSString* | impedanceFoot50kHzX
nonatomic,readonly | NSString* | impedanceFoot50kHzXUnit
nonatomic,copy | NSString* | impedanceFoot6_25kHzR
nonatomic,readonly | NSString* | impedanceFoot6_25kHzRUnit
nonatomic,copy | NSString* | impedanceFoot6_25kHzX
nonatomic,readonly | NSString* | impedanceFoot6_25kHzXUnit
nonatomic | UInt8 | muscleQuality
nonatomic | UInt8 | muscleQualityJudgement
Only available for Activity Monitor
nonatomic,copy | NSString* | strideLengthWalking
nonatomic,readonly | NSString* | strideLengthWalkingUnit
nonatomic,copy | NSString* | strideLengthRunning
nonatomic,readonly | NSString* | strideLengthRunningUnit
nonatomic | NSArray | activityEnergyExpenditureRunningArray
nonatomic,readonly | NSString* | activityEnergyExpenditureRunningUnit
nonatomic | NSArray | activityEnergyExpenditureWalkingArray
nonatomic,readonly | NSString* | activityEnergyExpenditureWalkingUnit
nonatomic | NSArray | activityEnergyExpenditureLivingArray
nonatomic,readonly | NSString* | activityEnergyExpenditureLivingUnit
nonatomic | NSArray | restingMetabolismArray
nonatomic,readonly | NSString* | restingMetabolismUnit
nonatomic | NSArray | burningFatRunnuingArray
nonatomic,readonly | NSString* | burningFatRunnuingUnit
nonatomic | NSArray | burningFatWalkingArray
nonatomic,readonly | NSString* | burningFatWalkingUnit
nonatomic | NSArray | burningFatLivingArray
nonatomic,readonly | NSString* | burningFatLivingUnit
nonatomic | NSArray | timeRunningArray
nonatomic,readonly | NSString* | timeRunningUnit
nonatomic | NSArray | timeWalkingArray
nonatomic,readonly | NSString* | timeWalkingUnit
nonatomic | NSArray | timeLivingArray
nonatomic,readonly | NSString* | timeLivingUnit
nonatomic | NSArray | stepsRunningArray
nonatomic,readonly | NSString* | stepsRunningUnit
nonatomic | NSArray | stepsWalkingArray
nonatomic,readonly | NSString* | stepsWalkingUnit
Properties
Following properties commonly used for Body Composition Monitor and Activity Monitor
date
The date of measurement
@property（nonatomic,copy）NSDate* date;
Following properties are only available for Body Composition Monitor
figure
The figure. (0:Standard 1:Athlete)
@property（nonatomic）TNTFigure figure;
height
The height.
Range is:
cm: 90.0 - 220.0 (increment:0.1)
ft-in: 36.0 - 87.0 (increment:0.1)
@property（nonatomic,copy）NSString* height;
heightUnit
The unit of height.
@property（nonatomic,readonly）NSString* heightUnit;
activityLevel
The activity level.
Range: 0 or 1 - 3 (0:unused)
@property（nonatomic）UInt8 activityLevel;
weight
The weight.
Range(kg only): 2.00 - 201.60 (increment: 0.01kg)
@property（nonatomic,copy）NSString* weight;
weightUnit
The unit of weight.
@property（nonatomic,readonly）NSString* weightUnit;
bodyMassIndex
The Body Mass iIndex.
Range(kg only): 6.0 - 248.9 (increment: 0.1)
@property（nonatomic,copy）NSString* bodyMassIndex;
bodyMassIndexJudgement
The judgement of Body Mass Index
Range: 1 - 4 (1:under weight 2:normal range 3:over weight,pre-obese 4:obese class 1 - 3)
@property（nonatomic）UInt8 bodyMassIndexJudgement;
bodyFat
The body fat.
Range: 5.00 - 75.00 (increment: 0.01%)
@property（nonatomic,copy）NSString* bodyFat;
bodyFatUnit
The unit of body fat.
@property（nonatomic,readonly）NSString* bodyFatUnit;
bodyFatJudgement
The body fat judgement.
The range:1 - 5 (1:Under 2:Healthy(-) 3:Healthy(+) 4:Over 5:Obese)
@property（nonatomic）UInt8 bodyFatJudgement;
bodyWater
The body water %.
Range: 15.00 - 85.00 (increment: 0.1%)
@property（nonatomic,copy）NSString* bodyWater;
bodyWaterUnit
The unit of body water %.
@property（nonatomic,readonly）NSString* bodyWaterUnit;
muscleMass
The Muscle Mass.
Range :2.00 - 201.6 (increment: 0.01kg)
@property（nonatomic,copy）NSString* muscleMass;
muscleMassUnit
The unit of Muscle Mass.
@property（nonatomic,readonly）NSString* muscleMassUnit;
muscleMassScore
The Muscle Mass Score.
The range:-4 - 4（-4--2:Under,-1-1:Average,2-4:High）。
@property（nonatomic）SInt8 muscleMassScore;
muscleMassJudgement
The Muscle Mass Judgment.(whole body)
The range:1 - 3 （1:Under,2:Average,3:High）。
@property（nonatomic）UInt8 muscleMassJudgement;
boneMass
The esteimated Bone Mass.
Range :0.30 - 7.06 (increment: 0.01kg)
@property（nonatomic,copy）NSString* boneMass;
boneMassUnit
The unit of Bone Mass.
@property（nonatomic,readonly）NSString* boneMassUnit;
boneMassJudgement
The Bone Mass Judgement.
The range:1 - 4 (1:Under,2:Slightly Under,3:Average,4:High）
@property（nonatomic）UInt8 boneMassJudgement;
visceralFat
The Vieceral Fat.
Range :1.0 - 59.0 (increment: 0.1level)
@property（nonatomic,copy）NSString* visceralFat;
visceralFatUnit
The unit of Visceral Fat.
@property（nonatomic,readonly）NSString* visceralFatUnit;
visceralFatJudgement
The Visceral Fat Judgement.
The range:1 - 3 （1:Average,2:Slightly High,3:High）。
@property（nonatomic）UInt8 visceralFatJudgement;
basalMetabolicRate
The Basal Metabolic Rate.
Range: 1 - 9999 (increment: 1kcal)
@property（nonatomic）NSString* basalMetabolicRate;
basalMetabolicRateUnit
The unit of Basal Metabolic Rate.
@property（nonatomic,readonly）NSString* basalMetabolicRateUnit;
basalMetabolicRateJudgement
The Basal Metabolic Rate Judgement.
Range: 1 - 16（1-6:Under,7-10:Average,11-16:High）。
@property（nonatomic）UInt8 basalMetabolicRateJudgement;
metabolicAge
The Metabolic Age.
Range: 18 - 90 (increment:1)
@property（nonatomic）UInt8 metabolicAge;
temperature
The count of Temperature
Range: 0 - 1023 (increment: 1count)
@property（nonatomic,copy）NSString* temperature;
temperatureUnit
The unit of Temperature.
@property（nonatomic,readonly）NSString* temperatureUnit;
weightZero
The count of Weight Zero.
Range: 0 - 65535 (increment: 1count)
@property（nonatomic,copy）NSString* weightZero;
weightZeroUnit
The unit of Weight Zero
@property（nonatomic,readonly）NSString* weightZeroUnit;
impedanceFoot50kHzR
The Impedance Foot 50kHz R
Range: -3276.8 - 3276.7 (increment: 0.1ohm)
@property（nonatomic,copy）NSString* impedanceFoot50kHzR;
impedanceFoot50kHzRUnit
The unit of Impedance Foot 50kHz R
@property（nonatomic,readonly）NSString* impedanceFoot50kHzRUnit;
impedanceFoot50kHzX
The Impedance Foot 50kHz X
Range: -3276.8 - 3276.7 (increment: 0.1ohm)
@property（nonatomic,copy）NSString* impedanceFoot50kHzX;
impedanceFoot50kHzXUnit
The unit of Impedance Foot 50kHz X
@property（nonatomic,readonly）NSString* impedanceFoot50kHzXUnit;
impedanceFoot6_25kHzR
The Impedance Foot 6.25kHz R
Range: -3276.8 - 3276.7 (increment: 0.1ohm)
@property（nonatomic,copy）NSString* impedanceFoot6_25kHzR;
impedanceFoot6_25kHzRUnit
The unit of Impedance Foot 6.25kHz R
@property（nonatomic,readonly）NSString* impedanceFoot6_25kHzRUnit;
impedanceFoot6_25kHzX
The Impedance Foot 6.25kHz X
Range: -3276.8 - 3276.7 (increment: 0.1ohm)
@property（nonatomic,copy）NSString* impedanceFoot6_25kHzX;
impedanceFoot6_25kHzXUnit
The unit of Impedance Foot 6.25kHz X
@property（nonatomic,readonly）NSString* impedanceFoot6_25kHzXUnit;
muscleQuality
The muscle quality.Range::0 - 100(increment:1count).
@property（nonatomic）UInt8 muscleQuality;
muscleQualityJudgement
The muscle quality.judgement. Range:1-9( 1-2:Low,3-7:Average,8-9:High )
@property（nonatomic）UInt8 muscleQuality;
bodyFatLeftArm
The body fat on left arm.Range:5.0 - 75.0 (increase:0.1).
@property（nonatomic,copy）NSString* bodyFatLeftArm;
bodyFatLeftArmUnit
The unit of the body fat on left arm.
@property（nonatomic,copy）NSString* bodyFatLeftArmUnit;
bodyFatJudgementLeftArm
The body fat judgement on left arm.
Range:1 - 5
@property（nonatomic）UInt8 bodyFatJudgementLeftArm;
bodyFatRightArm
The body fat on right arm.Range:5.0 - 75.0 (increase:0.1).
@property（nonatomic,copy）NSString* bodyFatRightArm;
bodyFatRightArmUnit
The unit of the body fat on right arm.
@property（nonatomic,copy）NSString* bodyFatRightArmUnit;
bodyFatJudgementRightArm
The body fat judgement on right arm.
Range:1 - 5
@property（nonatomic）UInt8 bodyFatJudgementRightArm;
bodyFatLeftFoot
The body fat on left foot.Range:5.0 - 75.0 (increase:0.1).
@property（nonatomic,copy）NSString* bodyFatLeftFoot;
bodyFatLeftFootUnit
The unit of the body fat on left foot.
@property（nonatomic,copy）NSString* bodyFatLeftFootUnit;
bodyFatJudgementLeftFoot
The body fat judgement on left foot.
Range:1 - 5
@property（nonatomic）UInt8 bodyFatJudgementLeftFoot;
bodyFatRightFoot
The body fat on right foot.Range:5.0 - 75.0 (increase:0.1).
@property（nonatomic,copy）NSString* bodyFatRightFoot;
bodyFatRightFootUnit
The unit of the body fat on right foot.
@property（nonatomic,copy）NSString* bodyFatRightFootUnit;
bodyFatJudgementRightFoot
The body fat judgement on right foot.
Range:1 - 5
@property（nonatomic）UInt8 bodyFatJudgementRightFoot;
bodyFatTrunk
The body fat on trunk.Range:5.0 - 75.0 (increase:0.1).
@property（nonatomic,copy）NSString* bodyFatTrunk;
bodyFatTrunkUnit
The unit of the body fat on trunk.
@property（nonatomic,copy）NSString* bodyFatTrunkUnit;
bodyFatJudgementTrunk
The body fat judgement on trunk.
Range:1 - 5
@property（nonatomic）UInt8 bodyFatJudgementTrunk;
muscleMassLeftArm
The muscle mass on left arm.Range:0.01 - 201.60 (increase 0.01)
@property（nonatomic,copy）NSString* muscleMassLeftArm;
muscleMassLeftArmUnit
The unit of the muscle mass on left arm.
@property (nonatomic,readonly) NSString* muscleMassLeftArmUnit;
muscleMassScoreLeftArm
The muscle mass score on left arm.Range:-4 - 4（-4 - -2:Low,-1 - 1:Average,2 - 4:High）
@property (nonatomic) SInt8 muscleMassScoreLeftArm;
muscleMassJudgementLeftArm
The muscle mass judgement on left arm.Range:1 - 3 (1:Low, 2:Average, 3:High).
@property (nonatomic) UInt8 muscleMassJudgementLeftArm;
muscleQualityLeftArm
The muscle quality on left arm. Range:0 - 100 ( increase:1 )
@property (nonatomic) UInt8 muscleQualityLeftArm;
muscleQualityJudgementLeftArm
The muscle quality judgemnt on left arm. Range:1 - 9 (1 - 2:Low, 3 - 7:Average, 8 - 9:High).
@property (nonatomic) UInt8 muscleQualityJudgementLeftArm;
muscleMassRightArm
The muscle mass on right arm.Range:0.01 - 201.60 (increase 0.01)
@property (nonatomic,copy) NSString* muscleMassRightArm;
muscleMassRightArmUnit
The unit of the muscle mass on right arm.
@property (nonatomic,readonly) NSString* muscleMassRightArmUnit;
muscleMassScoreRightArm
The muscle mass score on right arm.Range:-4 - 4（-4 - -2:Low,-1 - 1:Average,2 - 4:High）
@property (nonatomic) SInt8 muscleMassScoreRightArm;
muscleMassJudgementRightArm
The muscle mass judgement on right arm.Range:1 - 3 (1:Low, 2:Average, 3:High).
@property (nonatomic) UInt8 muscleMassJudgementRightArm;
muscleQualityRightArm
The muscle quality on right arm. Range:0 - 100 ( increase:1 )
@property (nonatomic) UInt8 muscleQualityRightArm;
muscleQualityJudgementRightArm
The muscle quality judgemnt on right arm. Range:1 - 9 (1 - 2:Low, 3 - 7:Average, 8 - 9:High).
@property (nonatomic) UInt8 muscleQualityJudgementRightArm;
muscleMassLeftFoot
The muscle mass on left foot.Range:0.01 - 201.60 (increase 0.01)
@property (nonatomic,copy) NSString* muscleMassLeftFoot;
muscleMassLeftFootUnit
The unit of the muscle mass on left foot.
@property (nonatomic,readonly) NSString* muscleMassLeftFootUnit;
muscleMassScoreLeftFoot
The muscle mass score on left foot.Range:-4 - 4（-4 - -2:Low,-1 - 1:Average,2 - 4:High）
@property (nonatomic) SInt8 muscleMassScoreLeftFoot;
muscleMassJudgementLeftFoot
The muscle mass judgement on left foot.Range:1 - 3 (1:Low, 2:Average, 3:High).
@property (nonatomic) UInt8 muscleMassJudgementLeftFoot;
muscleQualityLeftFoot
The muscle quality on left foot. Range:0 - 100 ( increase:1 )
@property (nonatomic) UInt8 muscleQualityLeftFoot;
muscleQualityJudgementLeftFoot
The muscle quality judgemnt on left foot. Range:1 - 9 (1 - 2:Low, 3 - 7:Average, 8 - 9:High).
@property (nonatomic) UInt8 muscleQualityJudgementLeftFoot;
muscleMassRightFoot
The muscle mass on right foot.Range:0.01 - 201.60 (increase 0.01)
@property (nonatomic,copy) NSString* muscleMassRightFoot;
muscleMassRightFootUnit
The unit of the muscle mass on right foot.
@property (nonatomic,readonly) NSString* muscleMassRightFootUnit;
muscleMassScoreRightFoot
The muscle mass score on right foot.Range:-4 - 4（-4 - -2:Low,-1 - 1:Average,2 - 4:High）
@property (nonatomic) SInt8 muscleMassScoreRightFoot;
muscleMassJudgementRightFoot
The muscle mass judgement on right foot.Range:1 - 3 (1:Low, 2:Average, 3:High).
@property (nonatomic) UInt8 muscleMassJudgementRightFoot;
muscleQualityRightFoot
The muscle quality on right foot. Range:0 - 100 ( increase:1 )
@property (nonatomic) UInt8 muscleQualityRightFoot;
muscleQualityJudgementRightFoot
The muscle quality judgemnt on trunk. Range:1 - 9 (1 - 2:Low, 3 - 7:Average, 8 - 9:High).
@property (nonatomic) UInt8 muscleQualityJudgementRightFoot;
muscleMassTrunk
The muscle mass on trunk.Range:0.01 - 201.60 (increase 0.01)
@property (nonatomic,copy) NSString* muscleMassTrunk;
muscleMassTrunkUnit
The unit of the muscle mass on trunk.
@property (nonatomic,readonly) NSString* muscleMassTrunkUnit;
muscleMassScoreTrunk
The muscle mass score on trunk.Range:-4 - 4（-4 - -2:Low,-1 - 1:Average,2 - 4:High）
@property (nonatomic) SInt8 muscleMassScoreTrunk;
muscleMassJudgementTrunk
The muscle mass judgement on trunk.Range:1 - 3 (1:Low, 2:Average, 3:High).
@property (nonatomic) UInt8 muscleMassJudgementTrunk;
epPulse
The pulse rate Rang:50 - 200 ( increase:1 ).
@property (nonatomic) UInt8 epPulse;
epPulseState
The pulse rate state.Range:0 - 1 (0:ok,1:Outliers).
@property (nonatomic) UInt8 epPulseState;
athleteIndex
The athlete index. Range:20 - 120 (increase:1).
@property (nonatomic) UInt8 athleteIndex;
athleteJudgement
The athere judgement
Range:1 - 4 （1Beginner,2:Amateur,
3:Semi Athlete,4:Pro Athlete).
@property (nonatomic) UInt8 athleteJudgement;
Only available for Activity Monitor:
strideLengthWalking
The length of stride in walking. Range:20.0 - 150.0（ increase 0.1 ）.
@property（nonatomic,copy）NSString* strideLengthWalking;
strideLengthWalkingUnit
The unit of the length of stride in walking.
@property（nonatomic,readonly）NSString* strideLengthWalkingUnit;
strideLengthRunning
The length of stride in running. Range:20.0 - 200.0（ increase 0.1 ）.
@property（nonatomic,copy）NSString* strideLengthRunning;
strideLengthRunningUnit
The unit of the length of stride in running.
@property（nonatomic,readonly）NSString* strideLengthRunningUnit;
activityEnergyExpenditureRunningArray
The list of active energy expenditure in running
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 6553.5 kcal
@property（nonatomic）NSArray activityEnergyExpenditureRunningArray;
activityEnergyExpenditureRunningUnit
走行活動エネルギー量リストの単位を表します。
@property（nonatomic,readonly）NSString* activityEnergyExpenditureRunningUnit;
activityEnergyExpenditureWalkingArray
歩行活動エネルギー量リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 6553.5 kcal
@property（nonatomic）NSArray activityEnergyExpenditureWalkingArray;
activityEnergyExpenditureWalkingUnit
歩行活動エネルギー量リストの単位を表します。
@property（nonatomic,readonly）NSString* activityEnergyExpenditureWalkingUnit;
activityEnergyExpenditureLivingArray
生活活動エネルギー量リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 6553.5 kcal
@property（nonatomic）NSArray activityEnergyExpenditureLivingArray;
activityEnergyExpenditureLivingUnit
生活活動エネルギー量リストの単位を表します。
@property（nonatomic,readonly）NSString* activityEnergyExpenditureLivingUnit;
restingMetabolismArray
安静時 代謝量リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 6553.5 kcal
@property（nonatomic）NSArray restingMetabolismArray;
restingMetabolismUnit
安静時 代謝量リストの単位を表します。
@property（nonatomic,readonly）NSString* restingMetabolismUnit;
burningFatRunnuingArray
走行脂肪燃焼量リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.00 - 655.35 g
@property（nonatomic）NSArray burningFatRunnuingArray;
burningFatRunnuingUnit
走行脂肪燃焼量リストの単位を表します。
@property（nonatomic,readonly）NSString* burningFatRunnuingUnit;
burningFatWalkingArray
歩行脂肪燃焼量リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.00 - 655.35 g
@property（nonatomic）NSArray burningFatWalkingArray;
burningFatWalkingUnit
歩行脂肪燃焼量リストの単位を表します。
@property（nonatomic,readonly）NSString* burningFatWalkingUnit;
burningFatLivingArray
生活脂肪燃焼量リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.00 - 655.35 g
@property（nonatomic）NSArray burningFatLivingArray;
burningFatLivingUnit
生活脂肪燃焼量リストの単位を表します。
@property（nonatomic,readonly）NSString* burningFatLivingUnit;
timeRunningArray
走行活動時間リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 60.0 min
@property（nonatomic）NSArray timeRunningArray;
timeRunningUnit
走行活動時間リストの単位を表します。
@property（nonatomic,readonly）NSString* timeRunningUnit;
timeWalkingArray
歩行活動時間リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 60.0 min
@property（nonatomic）NSArray timeWalkingArray;
timeWalkingUnit
歩行活動時間リストの単位を表します。
@property（nonatomic,readonly）NSString* timeWalkingUnit;
timeLivingArray
生活活動時間リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0.0 - 60.0 min
@property（nonatomic）NSArray timeLivingArray;
timeLivingUnit
生活活動時間リストの単位を表します。
@property（nonatomic,readonly）timeLivingUnit;
stepsRunningArray
走行歩数リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0 - 65535 歩
@property（nonatomic）NSArray stepsRunningArray;
stepsRunningUnit
走行歩数リストの単位を表します。
@property（nonatomic,readonly）NSString* stepsRunningUnit;
stepsWalkingArray
歩行歩数リストを表します。
24時間分のデータ（NSString*）が0時から23時の順に格納されています。
0 - 65535 歩
@property（nonatomic）NSArray stepsWalkingArray;
stepsWalkingUnit
歩行歩数リストの単位を表します。
@property（nonatomic,readonly）NSString* stepsWalkingUnit;

## TNTBLEError
TNTBLEError Class Reference
Inherits from NSObject
@interface TNTBLEError : NSObject
Represents error information.
Data Type
TNTBLEError
Constants
TNTBLEErrorDomain
Data Type
TNTBLEError
typedef NS_ENUM(NSInteger, TNTBLEError) {
TNTBLEErrorUnknown = 0,
TNTBLEErrorPacketLoss = 1,
TNTBLEErrorChecksum = 2,
TNTBLEErrorIllegalDeviceType = 3,
TNTBLEErrorBusy = 4,
};
TNTBLEErrorUnknown = 0,
Unknown error
TNTBLEErrorPacketLoss = 1,
Packet loss error
TNTBLEErrorChecksum = 2,
Unmatch checksum error
TNTBLEErrorIllegalDeviceType = 3,
Illegal device type error
TNTBLEErrorBusy = 4,
Currently impossible to recive request.
Constants
Error Domain
TNTBLEErrorDomain
extern NSString * const TNTBLEErrorDomain;